LAN TOOL Software

1

2

3

4

5

6

- Server Details

You can scroll the server list (“Previous Server” and “Next Server”), the controls show the selected parameters for every server; you can also modify some parameter.

The button “Add New Server” empties all controls and the user can define the parameters for the new server.

The button “Delete Server” removes the server that is displayed from the servers’ list.

With the buttons “Save”/”Cancel” you close the mask saving/not saving thechanges.

- Open Settings

The button “Open settings”/”Close settings” opens/hides the bottom of the window where you can select the destination folder for the servers’ files.

- Single Reading

The button “Single Reading” starts the reading procedure: we read and we download all servers with the box “Enbl.” checked.

- Start Periodic Reading

The button “Start/Stop Periodic Reading” starts/stops the periodic reading procedure: we read and we download all servers with the box “Enbl.” checked.

You can define a different interval for every server.

The main window shows the time of the last reading and the time of the first next reading.

- LAN Gateway Monitor

The panel on the left shows the list of all LAN Gateway.

When you check the control box “Active”, a new panel related to the selected server appears (see following picture).

The panel here bottom shows the measures of the meter connected to the LAN Gateway. Every 10 seconds these values are refreshed.

- Exit

The button “Exit” closes the program.